## Slide 1
Lenel Maps - Stanford
Jonathan Randolph
Higher Education Lenel User’s Group – June 26, 2018

## Slide 3
-Lenel OnGuard v7.3-
Windows Server 2012 R2
1 application server
7 communications server
2 RDS servers
1 database server
(MS SQL 11.0.6615.2)
The GSB Residence Building

## Slide 4: About Our Deployment
306 buildings use Lenel OnGuard
1408 panels:
  361 LNL-3300
  14 LNL-2220
  15 LNL-2210
  447 lnl-1200
  361 lnl-1100
  210 ILS WAPS
3012 doors:
  2591 wired locks
  421 wireless locks
80,000+ Active cardholders
75 Segments – 470 system users
How many maps ???
The McMurtry Building

## Slide 5
631
The Clark Center

## Slide 7: Who is using the maps in Lenel?
UIT University Techs Technicians
UIT Operations Center

## Slide 8
Everyone:
Changes the mode of doors using maps (System tree or Map selection)
Most:
Use the maps to help other personal to navigate to door locations and troubleshoot issues
Very few:
Have ever used a building lockdown (PHEW!!)
Actively monitor alarms in Alarm Monitoring
No one:
Uses “Floating” mode
Interior of Memorial Church

## Slide 9
Additional features & functionality (wish list)
Have the ability to have multiple maps open at once
Would like an easier way to jump to other floors of a building while within a complex
If a reader is assigned a TRM have the timezone pop up when hovering over a reader
Have the ability to launch Alarm Monitoring from System Administration
The ability to make updates to maps from a web page
Improve user experience with Alarm Monitoring when using mobile devices
Memorial Church walkway

## Slide 10
Questions?
The Gates of Hell by Rodin

## Slide 11
Thank You!
Hoover Tower and Wallenberg Hall